## Test case
solve a small test case with data from GTEPdata_5years.db
{1: 181.810526013149, 2: 184.34769990276584, 3: 191.85019162638417, 4: 194.4695006297496, 5: 195.9107171894354, 6: 197.47855713927356, 7: 198.19404218211034, 8: 198.60493506211662, 9: 198.84753703487908}
gap: 0.9717692173585051
CPU Time (s) 1961.638311624527
Upper Bound 200.79883833462847
Lower Bound 198.84753703487908
Optimality gap (%) 0.9717692173585051
CPU Time (s) 1961.6383361816406
LP relaxtion of the problem is 199.54
LP problem statistics
'Number of constraints': 250546, 'Number of variables': 183041
Time:101 seconds

## 5years gtep
with transmission expansion | [5 empty] | Time: 5766 secs |  | UB: 86.2292
variable_operating_cost | [5 empty] | gap: 1% |  | LB: 85.4111
[7.517231465077662 | 13.0858 | 13.8884 | 14.4596 | 15.248367692594663] |  |  |  | 83.7938 | 0.029074
64.1993
fixed_operating_cost
[2.264716544925585 | 2.1426 | 2.027 | 1.9177 | 1.805200020354195] |  | theta values | mostly 500kv tielines are installed
10.1572 | [5 empty] | 0.1 - 0.2
startup_cost
[0.006705951152636109 | 0.063595 | 0.063338 | 0.06151 | 0.0942372556771251]
0.28939 | [5 empty] | solve with nested Benders
thermal_generator_cost |  |  |  |  | LB | 71.2 | {1: 65.17623593479956, 2: 65.3288786465648, 3: 68.95738937437396, 4: 65.93661149792841, 5: 68.20880719512733, 6: 65.96511814562481, 7: 66.16349861974903, 8: 66.41984385295665, 9: 66.53960819055625, 10: 66.10504872355017, 11: 66.17189303802222, 12: 66.57432103323951, 13: 67.24897669753358, 14: 66.76216205591733, 15: 66.03212077272534, 16: 66.29213536431064, 17: 65.72804980503211, 18: 68.10367972041138, 19: 67.79153526288226, 20: 66.68454067481242, 21: 68.72877167212017, 22: 68.63595858553, 23: 66.13727358624301, 24: 67.27065308470976, 25: 68.76702695352998, 26: 67.47226698474773, 27: 71.20037606659108}
[4.562869458506589 | -3.5823e-12 | 0 | 0 | 0.0] | UB | 89.97 | {1: 89.9756511843506, 2: 89.9756511843506, 3: 89.9756511843506, 4: 89.9756511843506, 5: 89.9756511843506, 6: 89.9756511843506, 7: 89.9756511843506, 8: 89.9756511843506, 9: 89.9756511843506, 10: 89.9756511843506, 11: 89.9756511843506, 12: 89.9756511843506, 13: 89.9756511843506, 14: 89.9756511843506, 15: 89.9756511843506, 16: 89.9756511843506, 17: 89.9756511843506, 18: 89.9756511843506, 19: 89.9756511843506, 20: 89.9756511843506, 21: 89.9756511843506, 22: 89.9756511843506, 23: 89.9756511843506, 24: 89.9756511843506, 25: 89.9756511843506, 26: 89.9756511843506, 27: 89.9756511843506}
4.5629 | [5 empty] | gap: 20.86706222252392
extending_thermal_generator_cost | [5 empty] | CPU Time (s) 42125.97545313835
[0.32117616342603833 | 0.043277 | 0.013129 | 0.012082 | 0.010124827728168065]
0.39979
renewable_generator_cost
[0.34325472788263145 | 0 | 0 | 0 | 0.0]
0.34325
extending_renewable_generator_cost
[0.0 | 0 | 0 | 0.0071407 | 0.0]
0.0071407
storage_investment_cost
[0.09862192575622565 | 0 | 0 | 0 | 0.0]
0.098622
penalty_cost
[0.0 | 0 | 0 | 0 | 0.0]
0
renewable_capacity
[3503.748944707991 | 3503.7489 | 3503.7489 | 3503.7489 | 3503.7489447081634]
17518.7447
thermal_capacity
[78252.8793 | 78252.8793 | 78252.8793 | 78252.8793 | 77572.2125999987]
390583.7298
total_capacity
[81756.62824470799 | 81756.6282 | 81756.6282 | 81756.6282 | 81075.96154470686]
408102.4745
transmission_line_cost
[5.605943749998929 | 0.29071 | 0.27503 | 0 | 0.0]
6.1717

## 5years gtep benders
put all the investment decisions in the master problem | Lower bound | Upper bound | Cplex Benders time | Upper bound time | gap
CPXPARAM_Read_DataCheck 1 | 85.2073 | 86.247 | 1285 | 20 | 0.012055
CPXPARAM_Benders_Strategy 2
CPXPARAM_MIP_Tolerances_MIPGap 0.01
Tried aggregator 2 times.
MIP Presolve eliminated 55461 rows and 30277 columns.
MIP Presolve modified 74919 coefficients.
Aggregator did 1280 substitutions.
Reduced MIP has 321118 rows, 181733 columns, and 1069173 nonzeros.
Reduced MIP has 595 binaries, 419 generals, 0 SOSs, and 0 indicators.
Presolve time = 1.46 sec. (557.30 ticks)
Tried aggregator 1 time.
Reduced MIP has 321118 rows, 181733 columns, and 1069173 nonzeros.
Reduced MIP has 595 binaries, 419 generals, 0 SOSs, and 0 indicators.
Presolve time = 0.50 sec. (307.03 ticks)
Nodes Cuts/
Node Left Objective IInf Best Integer Best Bound ItCnt Gap
Tried aggregator 2 times.
MIP Presolve eliminated 113 rows and 0 columns.
Aggregator did 16 substitutions.
Reduced MIP has 577 rows, 1275 columns, and 3803 nonzeros.
Reduced MIP has 585 binaries, 414 generals, 0 SOSs, and 0 indicators.
Presolve time = 0.00 sec. (2.24 ticks)
Probing time = 0.00 sec. (0.19 ticks)
Tried aggregator 1 time.
Reduced MIP has 577 rows, 1275 columns, and 3803 nonzeros.
Reduced MIP has 585 binaries, 414 generals, 0 SOSs, and 0 indicators.
Presolve time = 0.00 sec. (1.03 ticks)
Probing time = 0.00 sec. (0.19 ticks)
Clique table members: 153.
MIP emphasis: balance optimality and feasibility.
MIP search method: dynamic search.
Parallel mode: deterministic, using up to 24 threads.
Root relaxation solution time = 0.01 sec. (9.00 ticks)
* 0+ 0 164.4229 84.6334 48.53%
0 0 84.5364 35 164.4229 84.6334 2493 48.53%
* 0+ 0 86.9963 84.6334 2.72%
0 0 84.6274 41 86.9963 Cuts: 17 2505 2.72%
0 0 84.6682 28 86.9963 Cuts: 7 2514 2.68%
0 0 84.7275 44 86.9963 Cuts: 4 2527 2.61%
0 0 84.7825 41 86.9963 Cuts: 5 2542 2.54%
0 0 84.7909 42 86.9963 Cuts: 7 2549 2.54%
0 0 84.7998 47 86.9963 Cuts: 5 2555 2.52%
0 0 84.8228 63 86.9963 Cuts: 10 2567 2.50%
0 0 84.8272 70 86.9963 Cuts: 8 2574 2.49%
0 0 84.8377 52 86.9963 Cuts: 5 2583 2.48%
0 0 84.8501 64 86.9963 Cuts: 5 2595 2.47%
0 0 84.8534 65 86.9963 MIRcuts: 2 2600 2.46%
Heuristic still looking.
Heuristic still looking.
Heuristic still looking.
Heuristic still looking.
Repeating presolve.
Tried aggregator 1 time.
MIP Presolve eliminated 95 rows and 195 columns.
Reduced MIP has 482 rows, 1080 columns, and 3130 nonzeros.
Reduced MIP has 585 binaries, 219 generals, 0 SOSs, and 0 indicators.
Presolve time = 0.00 sec. (1.02 ticks)
Probing time = 0.00 sec. (0.19 ticks)
Tried aggregator 1 time.
Reduced MIP has 482 rows, 1080 columns, and 3130 nonzeros.
Reduced MIP has 585 binaries, 219 generals, 0 SOSs, and 0 indicators.
Presolve time = 0.00 sec. (0.92 ticks)
Represolve time = 0.30 sec. (52.08 ticks)
Probing time = 0.00 sec. (0.19 ticks)
Clique table members: 153.
MIP emphasis: balance optimality and feasibility.
MIP search method: dynamic search.
Parallel mode: deterministic, using up to 24 threads.
Root relaxation solution time = 0.02 sec. (11.32 ticks)
* 0+ 0 86.9963 84.8534 2.46%
0 0 84.8548 61 86.9963 84.8548 5016 2.46%
0 0 84.8621 66 86.9963 MIRcuts: 5 5021 2.45%
0 0 84.8644 65 86.9963 MIRcuts: 3 5025 2.45%
0 0 84.8720 68 86.9963 MIRcuts: 5 5033 2.44%
0 0 84.8792 68 86.9963 MIRcuts: 3 5038 2.43%
Heuristic still looking.
0 2 84.8792 68 86.9963 84.8792 5038 2.43%
Elapsed time = 1051.74 sec. (720985.05 ticks, tree = 0.02 MB, solutions = 1)
10 6 85.3863 31 86.9963 84.9058 5114 2.40%
40 7 85.9319 41 86.9963 84.9058 5115 2.40%
50 17 85.7654 43 86.9963 84.9058 5188 2.40%
60 25 86.2581 35 86.9963 84.9058 5260 2.40%
88 23 86.0420 39 86.9963 84.9058 5230 2.40%
116 9 86.3650 50 86.9963 84.9058 5128 2.40%
* 117+ 12 86.9206 84.9058 2.32%
117 14 85.5483 42 86.9206 84.9058 5175 2.32%
127 37 86.2488 19 86.9206 84.9058 5314 2.32%
154 12 86.4334 34 86.9206 84.9058 5155 2.32%
* 180+ 1 86.2425 84.9058 1.55%
180 3 85.0615 59 86.2425 84.9058 5054 1.55%
Elapsed time = 1163.30 sec. (749608.56 ticks, tree = 0.02 MB, solutions = 3)
190 38 86.2608 20 86.2425 84.9095 5339 1.55%
192 79 86.5992 13 86.2425 84.9095 5579 1.55%
268 10 86.2752 43 86.2425 84.9095 5135 1.55%
303 24 86.4922 28 86.2425 84.9839 5237 1.46%
304 60 86.0380 36 86.2425 84.9839 5527 1.46%
434 80 86.1822 10 86.2425 84.9839 6126 1.46%
498 155 85.3077 70 86.2425 84.9850 7413 1.46%
622 63 85.7543 29 86.2425 84.9850 5909 1.46%
638 22 86.1642 32 86.2425 84.9850 5219 1.46%
698 69 86.0840 0 86.2425 84.9850 6032 1.46%
Elapsed time = 1226.68 sec. (765274.53 ticks, tree = 0.04 MB, solutions = 4)
704 134 86.1581 8 86.2425 84.9850 6874 1.46%
862 143 86.0460 19 86.2425 84.9850 7175 1.46%
951 141 85.7609 17 86.2425 84.9850 7098 1.46%
1012 169 85.7433 30 86.2425 85.0580 7937 1.37%
1019 59 85.8884 28 86.2425 85.0580 5584 1.37%
1095 307 85.3725 32 86.2425 85.0580 9628 1.37%
1118 13 85.8771 38 86.2425 85.0580 5169 1.37%
1120 171 86.1309 14 86.2425 85.0580 7823 1.37%
* 1266+ 320 85.9576 85.0580 1.05%
1267 488 cutoff 85.9576 85.0580 12166 1.05%
1273 472 86.0835 5 85.9576 85.0580 11961 1.05%
Elapsed time = 1271.20 sec. (779316.59 ticks, tree = 0.42 MB, solutions = 6)
1288 474 86.2229 27 85.9576 85.0580 11964 1.05%
1289 450 85.8875 13 85.9576 85.0580 11921 1.05%
1293 512 cutoff 85.9576 85.0580 12304 1.05%
1294 544 cutoff 85.9576 85.0580 12576 1.05%
1295 551 cutoff 85.9576 85.0580 12591 1.05%
Benders cuts applied: 1013
Mixed integer rounding cuts applied: 27
Gomory fractional cuts applied: 3
Root node processing (before b&c):
Real time = 1046.52 sec. (720956.77 ticks)
Parallel b&c, 24 threads:
Real time = 239.00 sec. (68244.73 ticks)
Sync time (average) = 27.04 sec.
Wait time (average) = 0.00 sec.
------------
Total (root+branch&cut) = 1285.52 sec. (789201.51 ticks)

## 5 years gep
[5 empty] | Time: 252 secs |  | UB: 87.0907
[5 empty] | gap: 1% |  | LB: 86.5042
LP relaxation
variable_operating_cost | [5 empty] | 86.43
[8.581202550356048 | 15.1263 | 16.1128 | 16.8061 | 17.7517514797149]
74.3782
fixed_operating_cost
[2.2216852157074682 | 2.1128 | 1.9989 | 1.8924 | 1.7903493607715788]
10.0162 |  |  |  |  | solve with nested Benders
startup_cost |  |  |  |  | Upper Bound 86.84551447227336
[0.008933514358984132 | 0.040585 | 0.049115 | 0.047554 | 0.04470861629619455] | Lower Bound 86.25202879972517
0.1909 |  |  |  |  | Optimality gap (%) 0.6833809162794198
thermal_generator_cost |  |  |  |  | CPU Time (s) 3892.179146051407
[0.0 | 1.0648 | 0 | 0.20356 | 0.0]
1.2684
extending_thermal_generator_cost
[0.3933761981860087 | 0.043277 | 0.013129 | 0.012082 | 0.14122426181963946]
0.60309
renewable_generator_cost
[0.05451008066027791 | 0 | 0 | 0 | 0.0]
0.05451
extending_renewable_generator_cost
[0.0 | 0 | 0 | 0.0071407 | 0.0]
0.0071407
storage_investment_cost
[0.030525828066020638 | 0.12973 | 0.22907 | 0.082659 | 0.1003510612734374]
0.57233
penalty_cost
[0.0 | 0 | 0 | 0 | 0.0]
0
renewable_capacity
[3483.4180645445267 | 3483.4181 | 3483.4181 | 3483.4181 | 3483.4180645445267]
17417.0903
thermal_capacity
[75787.901 | 76587.901 | 76587.901 | 76797.901 | 76797.901]
382559.505
total_capacity
[79271.31906454453 | 80071.3191 | 80071.3191 | 80281.3191 | 80281.31906454453]
399976.5953