## Sheet1
Variable notation | definition | Example
b.P | power output of generation cluster i in region r during sub-period s of representative day d of year t (MW)
b.cu | curtailment slack generation in region r during sub-period s of representative day d of year t (MW)
b.RES_def | de􏰂cit from renewable energy quota target during year t (MWh)
b.P_flow | power transfer from region r to region r̸=r during sub-period s of representative day d of year t (MW)
b.d_P_flow_plus | nonnegative variable, power flow from the sending end of transmission line l, s(l), to the receiving end of line l, r(l) during sub-period s of representative day d of year t (MW)
b.d_P_flow_minus | nonnegative variable, power flow from the receiving end of transmission line l, r(l), to the sending end of line l, s(l) during sub-period s of representative day d of year t (MW)
b.Q_spin | spinning reserve capacity of generation cluster i in region r during sub-period s of representative day d of year t (MW)
b.Q_Qstart | quick-start capacity reserve of generation cluster i in region r during sub-period s of representative day d of year t (MW)
b.ngr_rn | number of generators that retire in cluster i ∈ IRN of region r in year t (continuous relaxation)
b.nge_rn | number of generators that had their life extended in cluster i ∈ IRN of region r in year t (continuous relaxation)
b.ngb_rn | number of generators that are built in cluster i ∈ IRN of region r in year t (continuous relaxation)
b.ngo_rn | number of generators that are operational in cluster i ∈ IRN of region r in year t (continuous r relaxation)
b.ngr_th | number of generators that retire in cluster i ∈ ITH of region r in year t (integer variable)
b.nge_th | number of generators that had their life extended in cluster i ∈ ITH of region r in year t (integer r variable)
b.ngb_th | number of generators that are built in cluster i ∈ ITH of region r in year t (integer variable) r
b.ngo_th | number of generators that are operational in cluster i ∈ ITH of region r in year t (integer variable)
b.u | number of thermal generators ON in cluster i ∈ Ir of region r during sub-period s of representative day d of year t (integer variable)
b.su | number of generators starting up in cluster i during sub-period s of representative day d in year t (integer variable)
b.sd | number of generators shutting down in cluster i during sub-period s of representative day d in year t (integer variable)
b.p_charged | power charged into storage in region r, day d, hour h, year t [MW]
b.p_discharged | power discharged into storage in region r, day d, hour h, year t [MW]
b.p_storage_level | ending state of charge of storage in region r, day d, hour h, year t [MWh]
b.p_storage_level_end_hour | ending state of charge of storage in region r, day d, hour h, year t [MWh]
b.nsb | Number of storage units of type j installed in region r, year t (relaxed to continuous)
b.nso | Number of storage units of type j operational in region r, year t (relaxed to continuous)
b.nsr | Number of storage units of type j retired in region r, year t (relaxed to continuous)
b.ntb | Whether new transmission line l is built in time period t
b.nte | whether transmission line l exist in time period t
b.theta | voltage angle at region r during sub-period s of representative day d of year t
b.d_theta_plus | nonnegative variable, angle difference between the angles at sending end and receiving end of transmission line l during sub-period s of representative day d of year t (MW)
b.d_theta_minus | nonnegative variable, angle difference between the angles at receiving end and sending end of transmission line l during sub-period s of representative day d of year t (MW)
b.d_theta_1 | disaggregated variable in the hull formulation, angle difference between the angles at sending end and receiving end of transmission line l during sub-period s of representative day d of year t (MW) if the transmission line l exists in year t
b.d_theta_2 | disaggregated variable in the hull formulation, angle difference between the angles at sending end and receiving end of transmission line l during sub-period s of representative day d of year t (MW) if the transmission line l does not exist in year t